Business for Health

Module 7

Indicators of Product Quality Problems

| Products | Indicators of Quality Problems |
| --- | --- |
| All Products: | broken or ripped packaging (vials, bottles, boxes, etc.) |
|  | missing, incomplete, or unreadable label(s) |
|  | seal tampering |
|  | stained package |
| Liquids: | discoloration |
|  | cloudiness |
|  | sediment |
|  | broken seal on bottle |
|  | cracks in ampoule, bottle, or vial |
|  | dampness or moisture in the packaging |
|  | crystalized |
|  | half filled |
| Light-Sensitive Products (such as x-ray film): | torn or ripped packaging |
|  | discoloration |
| Latex Products: | dry |
|  | brittle |
|  | cracked |
|  | sticking together |
| Lubricated Latex Products: | sticky packaging |
|  | discolored product or lubricant |
|  | stained packaging |
|  | leakage of the lubricant (moist or damp packaging) |
|  | expiration date |
| Pills (tablets) | discoloration |
|  | crumbled pills |
|  | missing pills (from blister pack) |
|  | stickiness (especially coated tablets) |
|  | unusual smell |
|  | fragmentation |
|  | moldy |
| Injectables: | liquid does not return to suspension after shaking |
|  | foreign matter |
|  | rust on metal clip |
| Sterile Products (including IUDs): | torn or ripped packaging |
|  | missing parts |
|  | broken or bent parts |
|  | moisture inside the packaging |
|  | stained packaging |

| Capsules: | discoloration |
| --- | --- |
|  | stickiness |
|  | crushed capsules |
|  | powdered |
| Tubes: | sticky tube(s) |
|  | leaking contents |
|  | perforations or holes in the tube |
| Foil Packs: | perforation(s) in packaging |
| Chemical Reagents: | discoloration |
|  | if control gives wrong results |
|  | half filled |
|  | spills on the bottle |